PROGRAM FEATURES AND OPTIONS

GEOCHEM-PC is designed to perform equilibrium speciation computations for soil solutions, hydroponic solutions for the rearing of plants, natural waters, and similar aqueous systems.  Like its predecessors, GEOCHEM-PC is intended for equilibrium calculations at constant temperature and total pressure, generally 298 K and 0.1 MPa, respectively.  The program cannot adjust the thermodynamic data for changes in T and P, although alternative versions of the database could be created and used for systems at other constant temperatures and pressures.  The 'case' structure (i.e., 10 different cases per program run) is particularly convenient for examining the effects of master variables such pH, pCO2, and pE on the speciation of a given solution.

GEOCHEM-PC is computationally similar to GEOCHEM and REDEQL, and these programs have been adequately described elsewhere (Morel and Morgan, 1972; Sposito and Mattigod, 1980; Sposito, 1984).  Briefly, a requirement for mole balance for all component species, coupled with conditional (ionic-strength adjusted) stability constants for the complexes and solids which may form from these components, provide a set of nonlinear equations. These equations are solved simultaneously using a variation of the Newton-Raphson method, until the sum of the concentrations of all metal and ligand species agree with their input concentrations to within a degree of precision selected by the user (the convergence criterion, usually 0.01%).

The program does not impose or require electroneutrality, nor its close relative, the proton condition (Stumm and Morgan, 1981).  This characteristic makes the program 'forgiving' when using input data which are incomplete or exhibit poor charge balance (Sposito, 1984), but prevents direct solution of certain types of problems.  We have improved upon this compromise by including a subroutine that computes the net charge balance after convergence by summing all positive and negative species.  This provides several benefits, including an enhanced ability to determine the speciation in some types of solutions which freely exchange CO2 with the atmosphere (see below).

In GEOCHEM-PC, the infinite-dilution, activity-based equilibrium constants from the thermodynamic database are converted to concentration constants with single-species activity coefficients for each reactant and product species.  When the ionic strength is  0.5 mol L-1, the Davies (1962) equation is used to estimate activity coefficients of charged species, while a modification of the Helgeson (1969) equation is invoked for systems in which I > 0.5 mol L-1 (Sposito and Mattigod, 1980).  Activity coefficients for neutral species are approximated according to Harned and Owen, (1958, p. 531-532), with km fixed at 0.1 (Sposito, 1984).  When ionic strength is computed from the input data, the conditional equilibrium constants are recomputed after each program iteration if the current value of I differs from that of the previous iteration by more than 0.5%.  Thus, convergence is not reached until the computed speciation, the ionic strength, and the conditional constants are stable and self-consistent.